Description Paper for 17025 Investigation (For Witness Testing)

About the 17025 Investigation (For Witness Testing)

The 17025 Investigation at witness testing sites is an investigation based on the items of JIS Q 17025 (ISO/IEC 17025) focused on the following matters:

1)	Competence of Testing Engineer for witness testing.

2)	Conformity and effectiveness (e.g., conditions of management and traceability of measurements) of the types of measurement equipment used relative to JIS standards (including written benchmarks, guidelines, etc.).

3)	Other related matters.

For the investigation items, please refer to the statement issued by the JIS Certification Bodies Association [Interpretations Pertaining to the JIS Mark Scheme] General ⑤ “JIS Q 17025 Conformity Investigation and Handling of Uncertainty in Conducting Witness Testing at Factory Testing Departments.”

About the Documents for Submission

The 17025 Investigation at witness testing sites will involve confirmation of the matters contained in the submitted documents and conformity of the items with respect to JIS Q 17025.

Witness Testing is to be conducted by Testing Engineer, with the types of measurement equipment, and at a testing site for which 17025 Investigations have been completed. It is recommended that additional preparations be in place to address possible problems on the day of the witness testing (i.e., absence of JQA's Certified Personnel, failure of measurement equipment, etc.,) by arranging for backup Testing Engineer and measurement equipment as necessary.

It is not permissible to engage Testing Engineer or use measurement equipment that have not undergone the 17025 Investigation for witness testing, and therefore, you are requested to exercise care not to make any omissions in the documents that are to be submitted. If it becomes necessary to make substitutions, additions or other changes of Testing Engineer or measurement equipment on the day of the witness testing, testing is to be conducted only after the witness testing auditor has done an additional 17025 Investigation on such changes and conformity has been confirmed. Please be advised that additional costs will result if there is any additional time involved with this investigation.

Documents for Submission

| ・Description Paper for 17025 Investigation (For Witness Testing) | (Form No: 8211-32) |
| --- | --- |
| 1)Technical Managers and Testing Engineer for Witness Testing |  |
| 2)Management Procedures for Personnel, Facilities and Equipment |  |
| 3) Internal Rules Prescribing Test Methodology |  |
| 4)Site for Conducting Witness Testing |  |
| ・Testing and Measuring Equipment Used for Witness Testing | (Form No: 8211-55) |
| Please fill out and submit the attached "Measuring Equipment Used in Witness Testing (Form Number: 8211-55)" using the "Method of Making Entries" sheet as a reference. |  |

[Note]

Personal information provided in this form will be used by JQA for communicating and coordinating and our testing,

audit, and certification services, etc. for which clients have applied. Your personal information will be controlled in

accordance with Japanese laws and our internal rules.

1)Technical Managers and Testing Engineer for Witness Testing

| Item | Content |  | JQA Entries |
| --- | --- | --- | --- |
| Name | (Family Name) | (Given Name) |  |
| Department |  |  |  |
| Title |  |  |  |
| Form of Employment | □Regular Staff □Non-Regular Staff □Contracted Staff □Temporary Hire (Part-Time) |  |  |
| Work Responsibilities | □Technical Manager □Testing Engineer Designation Used Internally ( ) |  |  |
| Witness Testing or Similar Work-Related Testing Experience | Activity Length of Time ･ ･ ･ |  |  |
| Education, Courses and Training History | Activity Length of Time ･ ･ ･ |  |  |
| Qualifications (Internal and External) | ･ ･ ･ |  |  |
| Matters Related to the Applicable Witness Testing |  |  |  |

[Notes]

1.	Please use one form for each staff member. If more than one staff member will be necessary when conducting the Witness Testing, please submit forms for the required staff members.

2.	Please check the appropriate box in the “Form of Employment” column.

3.	Please check the appropriate box in the “Work Responsibilities” column for Technical Manager, Testing Engineers, etc., and also enter the designation used internally for these work responsibilities.

4.	Please enter only information related to competence and abilities for Witness Testing in the “Qualifications” column.

5.	Forms used by the applicants may also be attached for the “Witness Testing or Similar Work-Related Testing Experience,” “Education, Courses and Training History” and “Qualifications” columns.

2)Management Procedures for Personnel, Facilities and Equipment

① Management Procedures for Personnel

| Management Item | Content Enabling Confirmation Under Internal Rules | Names of Applicable Internal Standards | JQA Entries |
| --- | --- | --- | --- |
|  |  | Information on Most Recent Version of Internal Standards (Numbers of Versions or Dates of Establishment or Revision) |  |
| Education and Training Guidelines | Guidelines prescribing the annual education plans, training topics, tracking individual performance in training, etc. |  |  |
| Qualification Guidelines | Guidelines prescribing the standards for qualification, evaluation (methods, times, continuing conditions, etc.), authorization for use of testing facilities, etc. |  |  |
| Rules of Employment | Rules prescribing the organizational work, responsibilities and authority, job descriptions, etc. |  |  |

② Management Procedures for Equipment and Instruments

| Management Item | Content Enabling Confirmation Under Internal Rules | Names of Applicable Internal Rules | JQA Entries |
| --- | --- | --- | --- |
|  |  | Information on Most Recent Version of Internal Standards (Numbers of Versions or Dates of Establishment or Revision) |  |
| Guidelines for Management of Equipment and Instruments | Guidelines prescribing the methods for classifying equipment and instruments, specifics for management of calibrations and check (reference standard that is used, distinction between external and internal, frequencies and periods, judgment criteria, etc.), methods for use of management indicators, etc. |  |  |
| Procedures for Calibration and check of Equipment and Instruments | Guidelines prescribing the procedures for calibrations and check of testing equipment and instruments. |  |  |
| Procedures for Estimating Uncertainty | Guidelines prescribing Uncertainty for calibrations when done internally |  |  |

[Note]

1.	If space in the columns is too small, please make entries using additional lines

3)Internal Rules Prescribing Test Methodology

List of Documentation Stating Testing Methodology

| Test Item | JIS Standard No. - Year | Names of Internal Standards Prescribing Testing Methodology | JQA Entries |
| --- | --- | --- | --- |
|  | Name of JIS Standard | Information on Most Recent Version of Internal Standards (Numbers of Versions or Dates of Establishment or Revision) |  |

[Notes]

1.	If any list exists in your company’s format that adequately states the above-mentioned information, please also submit separate copies of the most recent versions of such lists existing at the present time.

2.	If the testing methodology is quoted from other JIS Standard, please enter the JIS Standard No./Year and Name of JIS Standard that are the source of the reference.

4)Site for Conducting Witness Testing

| Test Site (Test Room, Etc.) | Name of Test (Corresponding JIS Standard No. - Test Item No.) | Test Environment Management Values, etc. | JQA Entries |
| --- | --- | --- | --- |

[Note]

1.	For “Test Environment Management Values, etc.,” please state the conditions and management values for the environmental requirements for temperature, humidity and other factors of the test site.